SRI VENKATESWARA COLLEGE OF ENGINEERING & TECHNOLOGY

(AUTONOMOUS)

R.V.S. NAGAR, CHITTOOR- 517127 (A.P)

DEPARTMENT OF MECHANICAL ENGINEERING

Year & Semester: IV B. Tech (R14), I Semester		       Branch: Mechanical Engg.

Subject: Refrigeration and Air Conditioning (14AME35)	       Academic year: 2017-18.

LESSON PLAN

Objectives:

To make the students learn:

- Various refrigeration systems

- The refrigerants and refrigerant equipments

- Various Psychometric properties & processes

- Requirement of the human comfort Air Conditioning and Air Conditioning Equipments

- Fundamentals of Cryogenics.

Out Comes:

After completion of the course the student will be able to

- Describe the basic working of refrigeration and air conditioning systems.

- Summarize the various equipments of Refrigeration and air conditioning systems.

- Judge appropriate eco-friendly refrigeration and air conditioning methods for domestic and industrial applications

- Analyze the performance of R& AC systems with the usage of advanced technologies on industrial growth.

- Design R&AC system with available resources as cost effective.

- Formulate the team to resolve the problem in R&AC systems and enrichment of the knowledge for lifelong learning.

Text Books:

- Textbook of Refrigeration and Air Conditioning by R. S. Khurmi & J. K. Gupta

- Refrigeration and Air Conditioning by Arora & Domkundwar

References:

- Refrigeration and Air Conditioning by C.P.Arora

- A Textbook of Refrigeration and Air Conditioning 2nd Edition by R. K Rajput

| S. No. | Unit No. | Topic | No. of hrs required | Cumulative hrs required |
| --- | --- | --- | --- | --- |
| 1 | UNIT-I | INTRODUCTION TO REFRIGERATION – Necessity and applications, Unit of refrigeration and C.O.P. different refrigeration methods | 2 | 2 |
| 2 |  | Air refrigeration – Ideal and Actual cycles, Open and Dense air systems | 2 | 4 |
| 3 |  | VAPOUR COMPRESSION REFRIGERATION CYCLE – working principle, essential components of the plant, COP, Representation of cycle on T-S and p-h charts, Problems on VCRS | 4 | 8 |
| 4 |  | VAPOR ABSORPTION SYSTEM: salient features, Simple VARS (NH3, water system), Practical VARS | 2 | 10 |
| 5 |  | Li Br, water ( Two shell & Four shell) System | 2 | 12 |
| 6 |  | Principle of operation Three Fluid absorption system | 1 | 13 |
| 7 |  | Simple problems on COP calculation | 2 | 15 |
| 8 | UNIT-II | Refrigerants: Desirable properties, classification refrigerants used – Nomenclature | 3 | 18 |
| 9 |  | Secondary refrigerants-lubricants | 2 | 20 |
| 10 |  | Refrigeration Equipments: |  |  |
| 11 |  | Compressors & Condensers-types | 3 | 23 |
| 12 |  | Evaporators & Expansion Devices -types | 3 | 26 |
| 13 |  | Leak Detention, VCR Vaccumization and recharging the refrigerant | 3 | 29 |
| 14 | UNIT-III | Introduction to Air Conditioning: Psychometric Properties & Processes | 4 | 33 |
| 15 |  | Characterization of Sensible and latent heat loads | 2 | 35 |
| 16 |  | Heat Load concepts -RSHF, GSHF, simple problems | 2 | 37 |
| 17 |  | A/C Systems: |  |  |
| 18 |  | Summer A/C, Winter A/C, year round A/C, Central A/C, Unitary A/C systems | 5 | 42 |
| 19 | UNIT-VI | Fundamentals of Air-Conditioning |  |  |
| 20 |  | Requirements of human comfort | 2 | 44 |
| 21 |  | Concept of Effective Temperature | 2 | 46 |
| 22 |  | Comfort chart, Comfort Air Conditioning | 2 | 48 |
| 23 |  | Need for Ventilation, Consideration of Infiltration | 2 | 50 |
| 24 |  | Air Conditioning Equipment and Applications |  |  |
| 25 |  | Humidifiers, dehumidifiers | 1 | 51 |
| 26 |  | Air filters, Fans and blowers | 1 | 52 |
| 27 |  | Grills and Registers | 1 | 53 |
| 28 |  | Ducts, supply ducts, outlets, return outlets | 2 | 55 |
| 29 | UNIT-V | Introduction to Cryogenics |  |  |
| 30 |  | Introduction | 1 | 56 |
| 31 |  | Cascade Refrigeration system | 2 | 58 |
| 32 |  | Liquefaction of gases | 2 | 60 |
| 33 |  | Linde system and Claude | 2 | 62 |
| 34 |  | Liquefaction of hydrogen and helium | 2 | 64 |
| 35 |  | Adiabatic demagnetization | 1 | 65 |

Signature of the faculty							Head of the Department